## Slide 1
Hamish Robertson, CENPA, University of Washington
Onward to the ‘final state’ in measuring
the mass of the neutrino
ACFI, December 14, 2015

## Slide 2: Kinematic measurement of Neutrino Mass
The final-state distribution (FSD) in tritium beta decay
How well does KATRIN have to know it?
Does 163Ho offer an escape from the need to know the FSD?
Project 8: Is an atomic experiment feasible?

## Slide 3: Neutrino mass from Beta Spectra
neutrino masses
mixing
With flavor mixing:
from oscillations
mass scale

## Slide 4: Present Laboratory Limit from 2 tritium experiments:
Together:…
mv < 1.8 eV (95% CL)

## Slide 5: KATRIN
TLK
At Karlsruhe Institute of Technology
unique facility for closed T2 cycle:
Tritium Laboratory Karlsruhe
A direct, model-independent, kinematic method, based on β decay of tritium.
~ 75 m long with 40 s.c. solenoids

## Slide 6: KATRIN’s uncertainty budget
Statistical
Final-state spectrum
T- ions in T2 gas
Unfolding energy loss
Column density
Background slope
HV variation
Potential variation in source
B-field variation in source
Elastic scattering in T2 gas
σ(mv2)
0
0.01 eV2
σ(mv2)total= 0.025 eV2
mv< 0.2 eV (90 % CL)

## Slide 7: Neutrino mass signal

## Slide 8: KATRIN’s uncertainty budget
Statistical
Final-state spectrum
T- ions in T2 gas
Unfolding energy loss
Column density
Background slope
HV variation
Potential variation in source
B-field variation in source
Elastic scattering in T2 gas
σ(mv2)
0
0.01 eV2
σ(mv2)total= 0.025 eV2
mv< 0.2 eV (90 % CL)

## Slide 9: Molecular final-state spectrum
Saenz et al. PRL 84 (2000)
T2  3HeT+
QA = 18.6 keV
β spectrum

## Slide 10
Molecular final-state spectrum
Saenz et al. PRL 84 (2000)
Fackler et al. PRL 55 (1985)
611 eV2
LANL 1991, LLNL 1995
695 eV2

## Slide 11: An old problem solved
Bodine, Parno, HR; PRC 91 035505 (2015)

## Slide 12
Molecular final-state spectrum
Saenz et al. PRL 84 (2000)
Fackler et al. PRL 55 (1985)
KATRIN
0.2 eV2
694 eV2
LANL 1991, LLNL 1995

## Slide 13: Molecular final-state spectrum – G.S.
translation
rotation
e-
T2 molecule
vibration

## Slide 14: Molecular final-state spectrum – G.S.
Saenz:
σ = 0.436 eV
ZPM:
σ = 0.420 eV
Bodine, Parno, HR; PRC 91 035505 (2015)

## Slide 15: final-state spectrum Comments
For molecular T2 only the ground-state manifold is relevant now and electronic excitations are no longer a concern.
The full FS variance (electronic included) is experimentally confirmed to ~2% (LANL, LLNL).
KATRIN’s 1% systematic (mainly g.s.) seems realistic.
The g.s. manifold has an rms width of 0.436 eV (FWHM 1.02 eV), which limits the neutrino mass reach of any molecular experiment.

## Slide 16: Mass Range Accessible
Present
Lab Limit
1.8 eV
starting
2016
KATRIN

## Slide 17: The Last Order of Magnitude
If the mass is below 0.2 eV, how can we measure it?
KATRIN may be the largest such experiment possible.
Size of experiment now:
Diameter 10 m.
Rovibrational states of THe+, HHe+ molecule
Source T2 column density near max
Next diameter: 300 m!

## Slide 18: Microcalorimeters for 187Re ß-decay
8751 hours x mg (AgReO4)
MIBETA: Kurie plot of 6.2 ×106 187Re ß-decay events (E > 700 eV)
10 crystals:
E0 = (2465.3 ± 0.5stat ± 1.6syst) eV
MANU2 (Genoa)
metallic Rhenium
m(n) < 26 eV
Nucl. Phys. B (Proc.Suppl.) 91 (2001) 293
MIBETA (Milano)
AgReO4
m(n) < 15 eV
MARE (Milano, Como,
Genoa, Trento, US, D)
Phase I : m(n) < 2.5 eV
mn2 = (-112 ± 207 ± 90) eV2
Nucl. Instr. Meth. 125 (2004) 125
hep-ex/0509038

## Slide 19: Electron Capture Holmium Expt (ECHo)
Gastaldo et al. NIM A711, 150 (2013)
163Ho implanted in Metallic Magnetic Calorimeters
Au:Er paramagnetic sensors

## Slide 20
Ranitzsch et al. 1409.0071
De Rujula & Lusignoli PL 118B 429 (1982)
Energy resolution 8.3 eV

## Slide 21
Spectrum with both single and double vacancies in the 163Dy daughter.
HR 2014: 1411.2906
PRC 91, 035504 (2015)
Complicated structure near endpoint makes neutrino mass measurement very difficult

## Slide 22
Spectrum with both single and double vacancies in the 163Dy daughter – Faessler’s calculation.
Faessler & Simkovic
PRC 91 045505 (2015)
New SHIPTRAP Q-value [PRL 115, 062501 (2015)]:

## Slide 23
Next, de Rujula calculates shake-off as well as shake-up:
1510.05462v2
As calculated:
Intensities adjusted:
The theoretical description is better and the Q-value puts the endpoint in a region where only 3-hole excitations exist. But now the intensity is worse than tritium!

## Slide 24
We need…
a new idea.

## Slide 25: Cyclotron radiation from tritium beta decay
(B. Monreal and J. Formaggio, PRD 80:051301, 2009)
Surprisingly, this has never been observed for a single electron.
“Never measure anything but frequency.”
A. Schawlow

## Slide 26: Energy rEsolution
~30
For 1 eV energy resolution, you need about 2 ppm frequency.
For 2 ppm frequency, you need 500,000 cycles, or 15 μs.
Electron travels 2 km.
You need a trap!

## Slide 27: Shallow trap data
83mKr
Preliminary
Analysis in Progress
Reconstructed energy (keV)
These lines are ~50 eV apart
30.0
30.2
30.4
29.8
30.6

## Slide 28: Why is this so important?
Source is transparent to microwaves: can make it as big as necessary.
Whole spectrum is recorded at once, not point-by-point.
Excellent resolution should be obtainable.
An atomic source of T (rather than molecular T2) may be possible. Eliminates the final-state theory input.

## Slide 29: Next: a tritium experiment
Fill a volume with tritium gas at low pressure
Instrument with antennas and receivers
Apply uniform magnetic field
Measure the spectrum

## Slide 30: Project 8 sensitivity
and OPTIMISTIC

## Slide 31: Project 8 sensitivity
Existing mass limit
Normal vs inverted hierarchy
Current system volume

## Slide 32: Is an atomic source feasible?
Must reject molecules to 10-5 (endpoint is 8 eV higher)
Produce T in RF discharge: 90:10 T2:T
Cool to ~10 K in PTFE tube (Silvera method).
State select.
Inject into trap, trap low-field-seeking polarization.
Trap and cool to ~1 K by scattering from 4He.
Trap in same magnetic field configuration that is trapping the electrons: ‘bathtub’ axial trap + added barrel conductors. High fields are essential: complicated SC magnet. 5T ~ 3.1 K.
Neither T2 nor 4He are trapped magnetically.
Surprisingly, all of this looks sort of feasible, although not easy.
The statistical accuracy alone doesn’t convey the added confidence an atomic source would give.

## Slide 33: Magnetic configuration of trap
Solenoidal uniform field for electron cyclotron motion
Pinch coils to reflect electrons
Ioffe conductors (multipole magnetic field) to reflect radially moving atoms.
The ALPHA antihydrogen trap parameters:
Magnetic well depth 0.54 K (50 μeV)
Trap density initially ~107 cm-3
Trap lifetime ~ 1000 s

## Slide 34: An early H trap (AT&T, MIT)
Hess et al. PRL 59, 672 [1987]
6 x 1012 cm-3
40 mK
400 s
Effect of dipolar spin flips

## Slide 35: ALPHA’s antihydrogen trap
ALPHA Collaboration: Nature Phys.7:558-564,2011; arXiv 1104.4982

## Slide 36: Project 8: a phased approach

## Slide 37: Mass Range Accessible
Present
Lab Limit
1.8 eV
starting
2016
KATRIN

## Slide 38: Neutrino Mass Limits from Beta decay
KATRIN

## Slide 39: summary
Direct mass measurements are largely model independent:
  Majorana or Dirac
  No nuclear matrix elements
  No complex phases
  No cosmological degrees of freedom
One experiment in construction (KATRIN); 2016 start.
Five experiments in R&D (Project 8, ECHo, HoLMES, NuMECS, PTOLEMY)
Success of Project 8 proof-of-concept.
  New spectroscopy based on frequency
  First step toward frequency-based determination of neutrino mass
  Prospects for an atomic experiment

## Slide 40
Fin

## Slide 41
Battye and Moss, PRL 112, 051303 (2014)
Planck
SPT
Lensing power spectrum
Shear correlation spectrum
CFHTLenS
Some tensions in ΛCDM resolved with neutrino mass:

## Slide 42
http://www.aanda.org/articles/aa/abs/2015/02/aa25435-14/aa25435-14.html
Galaxy cluster data agree better with CMB when Σmν=

## Slide 43: Neutrino mass Physics Impact

## Slide 45: Mass and mixing parameters
m212 | 7.54+0.21-0.21 x 10-5 eV2 | 
m322¦ | 2.42+0.12-0.11 x 10-3 eV2 | 
mi | > 0.055 eV (90% CL) | < 5.4 eV (95% CL)*
12 | 34.1+0.9-0.9 deg | 
23 | 39.2+1.8-1.8 deg | 
13 | 9.1+0.6-0.7 deg | 
sin213 | 0.025+.003-.003 | 
Marginalized 1-D 1- uncertainties.
*C. Kraus et al., Eur. Phys. J. C40, 447 (2005); V. Aseev et al. PRD 84 (2011) 112003.
Other refs, see Fogli et al. 1205.5254
Oscillation
Kinematic

## Slide 46
K. Valerius

## Slide 47
K. Valerius

## Slide 48
K. Valerius

## Slide 49: Katrin’s statistical power

## Slide 50: A window to work in
Molecular excitations
Energy loss

## Slide 51: Sensitivity with Time

## Slide 54: Neutrino mass: some milestones
2013
2014
2015
2016
2017
2018
2019
Construction
Running
KATRIN:
Phase I
Proof concept
Prototype
Project 8: